## May 2026
MONTHLY REPORT
DMR SYSTEM
Region |  |  | Network |  |  |  |  | DMR Hytera | [6 empty] | Month
Equipment Status
No | Equipment |  | Normal Status |  |  |  |  | Current Status | [5 empty] | Comments
1 | MSO Server -Primary (ABHA) |  | Operational |  |  |  |  | Operational
2 | MSO Server - Redundant (RIYADH) |  | Operational |  |  |  |  | Operational
3 | Dispatch Server- Primary (ABHA) |  | Operational |  |  |  |  | Operational
4 | Dispatch Server -Redundant (RIYADH) |  | Operational |  |  |  |  | Operational
5 | Recording Server -Primary (ABHA) |  | Operational |  |  |  |  | Operational
6 | Recording Server- Redundant (RIYADH) |  | Operational |  |  |  |  | Operational
7 | PSS (Primary) |  | Operational |  |  |  |  | Operational
8 | PSS (Secondary) |  | Operational |  |  |  |  | Operational
9 | PABX /PSTN Gatway |  | Installed/Not Opertional |  |  |  |  | Installed/Not Opertional | [5 empty] | Not Configured .
10 | MTU 01 (ABHA) |  | Operational |  |  |  |  | Operational
11 | MTU 02 (ABHA) |  | Operational |  |  |  |  | Operational
12 | MTU 03 (ABHA) |  | Operational |  |  |  |  | Operational
13 | MTU 04 (ABHA) |  | Operational |  |  |  |  | Operational
14 | MTU 01 (RIYADH) |  | Operational |  |  |  |  | Operational
15 | MTU 02 (RIYADH) |  | Operational |  |  |  |  | Operational
16 | MTU 03 (RIYADH) |  | Operational |  |  |  |  | Operational
17 | MTU 04 (RIYADH) |  | Operational |  |  |  |  | Operational
18 | Microwave Server Hauawei -Primary |  | N/A |  |  |  |  | N/A | [5 empty] | N/A
19 | Microwave Server Hauawei - Redandant |  | N/A |  |  |  |  | N/A | [5 empty] | N/A
20 | Microwave Monitoring and Management Application (NMS) |  | Operational |  |  |  |  | Operational | [5 empty] | 3 links Pending to be added in NMS
21 | MSO Main(ABHA) Core Router Huawei AR2204XE (Primary) |  | Operational |  |  |  |  | Operational
22 | MSO Main(ABHA) Core Router Huawei AR2204XE (Redundant) |  | Installed/Not Opertional |  |  |  |  | Installed/Not Opertional | [5 empty] | Not Configured ,
23 | MSO Main(RIYADH) Core Router Huawei AR2204XE (Primary) |  | Operational |  |  |  |  | Operational
24 | MSO Main(RIYADH) Core Router Huawei AR2204XE (Redundant) |  | Installed/Not Opertional |  |  |  |  | Installed/Not Opertional | [5 empty] | Not Configured ,
25 | MSO Main(ABHA) Core Switch Huawei S5720 (Primary) |  | Operational |  |  |  |  | Operational
26 | MSO Main(ABHA) Core Switch Huawei S5720 (Redundant) |  | Operational |  |  |  |  | Operational
27 | MSO Main(RIYADH) Core Switch Huawei S5720 (Primary) |  | Operational |  |  |  |  | Operational
28 | MSO Main(RIYADH) Core Switch Huawei S5720 (Redundant) |  | Operational |  |  |  |  | Operational
Outages in this Month
No | Equipment/ site | Site Name | Effected Managed Resource | Severity | Escalation |  | Recovery |  | Escalated for L3 Support |  | Outage Duration | TT Number | TT Status | TT Owner | RCA | Comments
[5 empty] | Date | Time | Date | Time | Date | Time
Remarks: Assigned sites for Monitoring (O&M) are 42, 34 sites are operational .
NASCO REPRESENTATIVE |  |  |  |  | NG REPRESENTATIVE
Name |  |  | Signature |  | Name |  |  | Signature |  |  |  | Name |  |  | Signature
Jamal Anwar Pasha (Project Manager) |  |  |  |  | Monther. A Al-Roeshedy (Applications & Systems Development Division Manager) | [6 empty] | Turki A. Al Dahash (Unified OT Communications Division Manager)

## RCA and Action Taken
Site Dismatled | Un-Informed Activity

## GVMetadata (hidden)
GVData | ew0KICAiZG9jSUQiOiAiYjU4NmRkOGMtMGYxNC00Y2Q5LTk2ODQtYTRjZDlkZDM4NWRiIiwNCiAgInRhZ3NldF8wMDRkZWEzM184NzUxXzQzOTlfYTc2ZV85NWYzNzFjYjQxMTlfZGlzdHJpYnV0aW9uIjogIkV4dGVybmFsIiwNCiAgInRhZ3NldF9lMTY0MDlhN18x
GVData0 | NzAwXzQxNTNfOTA5MF8zOTU1YmMyZjBhZThfY2xhc3NpZmljYXRpb24iOiAiQ29uZmlkZW50aWFsIiwNCiAgIkhlYWRlckxlZnQiOiAiIiwNCiAgIkhlYWRlckNlbnRlciI6ICJcdTAwMjZLOEI4MDAwXHUwMDI2MTBDbGFzc2lmaWVkIGFzIENvbmZpZGVudGlhbCBF
GVData1 | eHRlcm5hbCBieSBTRUMgLSAgXHUwNjI3XHUwNjQ0XHUwNjM0XHUwNjMxXHUwNjQzXHUwNjI5IFx1MDYyN1x1MDY0NFx1MDYzM1x1MDYzOVx1MDY0OFx1MDYyRlx1MDY0QVx1MDYyOSBcdTA2NDRcdTA2NDRcdTA2NDNcdTA2NDdcdTA2MzFcdTA2MjhcdTA2MjdcdTA2
ClassificationTagSetId | e16409a7-1700-4153-9090-3955bc2f0ae8
Classification | مقيد / Confidential
ComplianceTagSetId | f14fc1f1-8950-40d5-8a29-45909da947d6
FileId | 2f340699-4422-5e3b-140e-a5b021afebf8
UserId | Anas M. AL-Manaa
TagDateTime | 2024-08-07T04:40:49Z
Distribution | خارجي / External
ClassificationHash | {classification_guid}
ComplianceHash | {compliance_guid}
DistributionHash | {distribution_guid}
GVData2 | MjEgXHUwNjQ1XHUwNjM1XHUwNjQ2XHUwNjQxIFx1MDY0NVx1MDY0Mlx1MDY0QVx1MDYyRiAoXHUwNjJFXHUwNjI3XHUwNjMxXHUwNjJDXHUwNjRBKSIsDQogICJIZWFkZXJSaWdodCI6ICIiLA0KICAiRm9vdGVyTGVmdCI6ICIiLA0KICAiRm9vdGVyQ2VudGVyIjog
GVData3 | Ilx1MDAyNks4QjgwMDBcdTAwMjYxMENsYXNzaWZpZWQgYXMgQ29uZmlkZW50aWFsIEV4dGVybmFsIGJ5IFNFQyAtICBcdTA2MjdcdTA2NDRcdTA2MzRcdTA2MzFcdTA2NDNcdTA2MjkgXHUwNjI3XHUwNjQ0XHUwNjMzXHUwNjM5XHUwNjQ4XHUwNjJGXHUwNjRBXHUw
GVData4 | NjI5IFx1MDY0NFx1MDY0NFx1MDY0M1x1MDY0N1x1MDYzMVx1MDYyOFx1MDYyN1x1MDYyMSBcdTA2NDVcdTA2MzVcdTA2NDZcdTA2NDEgXHUwNjQ1XHUwNjQyXHUwNjRBXHUwNjJGIChcdTA2MkVcdTA2MjdcdTA2MzFcdTA2MkNcdTA2NEEpIiwNCiAgIkZvb3RlclJp
GVData5 | Z2h0IjogIiINCn0=
GVData6 | (end)