## Month-Year
MONTHLY REPORT
DMR SYSTEM
Region |  |  |  | Network |  |  | DMR Hytera | [7 empty] | Month
Equipment Status
No | Equipment | Normal Status | Current Status | Comments
1 | MSO Server ( Redundant) (DAMMAM) | Operational | Operational
2 | MSO Server ( Main)(RIYADH) | Operational | Operational
3 | Dispatch Server ( Redundant) (DAMMAM) | Operational | Operational
4 | Dispatch Server( Main)(RIYADH) | Operational | Operational
5 | Recording Server ( Main) | Operational | Operational
6 | Recording Server ( Redundant) | Operational | Operational
7 | PABX /PSTN Gatway | Installed/Not Opertional | Not Configured . | Not Configured .
8 | PSS (Primary) | Operational | Operational
9 | PSS (Secondary) | Operational | Operational
10 | MTU 01 (DAMMAM) | Operational | Operational
11 | MTU 02 (DAMMAM) | Operational | Operational
12 | MTU 03 (DAMMAM) | Operational | Operational
13 | MTU 04 (DAMMAM) | Operational | Operational
14 | MTU 01 (RIYADH) | Operational | Operational
15 | MTU 02 (RIYADH) | Operational | Operational
16 | MTU 03 (RIYADH) | Operational | Operational
17 | MTU 04 (RIYADH) | Operational | Operational
18 | MSO Main(DAMMAM) Core Router Huawei AR2204XE (Primary) | Operational | Operational
19 | MSO Main(DAMMAM) Core Router Huawei AR2204XE (Redundant) | Installed/Not Opertional | Not Configured , | Not Configured .
20 | MSO Main(RIYADH) Core Router Huawei AR2204XE (Primary) | Operational | Operational
21 | MSO Main(RIYADH) Core Router Huawei AR2204XE (Redundant) | Installed/Not Opertional | Not Configured , | Not Configured .
22 | MSO Main(DAMMAM) Core Switch Huawei S5720 (Primary) | Operational | Operational
23 | MSO Main(DAMMAM) Core Switch Huawei S5720 (Redundant) | Operational | Operational
24 | MSO Main(RIYADH) Core Switch Huawei S5720 (Primary) | Operational | Operational
25 | MSO Main(RIYADH) Core Switch Huawei S5720 (Redundant) | Operational | Operational
Outages in this Month
No | Equipment/ site | Site Name | Effected Managed Resource | Severity | Alarm Type | Escalation |  | Recovery |  | Escalated for L3 Support |  | Outage Duration | TT Number | TT Status | TT Owner | Comments
[6 empty] | Date | Time | Date | Time | Date | Time
NASCO REPRESENTATIVE
Name |  |  | Signature |  |  | Name | Signature | Name | Signature
Jamal Anwar Pasha (Project Manager) | [5 empty] | Monther. A Al-Roeshedy (Applications & Systems Development Division Manager) |  | Turki A. Al Dahash (Unified OT Communications Division Manager)

## GVMetadata (hidden)
GVData | ew0KICAiZG9jSUQiOiAiYjU4NmRkOGMtMGYxNC00Y2Q5LTk2ODQtYTRjZDlkZDM4NWRiIiwNCiAgInRhZ3NldF8wMDRkZWEzM184NzUxXzQzOTlfYTc2ZV85NWYzNzFjYjQxMTlfZGlzdHJpYnV0aW9uIjogIkV4dGVybmFsIiwNCiAgInRhZ3NldF9lMTY0MDlhN18x
GVData0 | NzAwXzQxNTNfOTA5MF8zOTU1YmMyZjBhZThfY2xhc3NpZmljYXRpb24iOiAiQ29uZmlkZW50aWFsIiwNCiAgIkhlYWRlckxlZnQiOiAiIiwNCiAgIkhlYWRlckNlbnRlciI6ICJcdTAwMjZLOEI4MDAwXHUwMDI2MTBDbGFzc2lmaWVkIGFzIENvbmZpZGVudGlhbCBF
GVData1 | eHRlcm5hbCBieSBTRUMgLSAgXHUwNjI3XHUwNjQ0XHUwNjM0XHUwNjMxXHUwNjQzXHUwNjI5IFx1MDYyN1x1MDY0NFx1MDYzM1x1MDYzOVx1MDY0OFx1MDYyRlx1MDY0QVx1MDYyOSBcdTA2NDRcdTA2NDRcdTA2NDNcdTA2NDdcdTA2MzFcdTA2MjhcdTA2MjdcdTA2
ClassificationTagSetId | e16409a7-1700-4153-9090-3955bc2f0ae8
Classification | مقيد / Confidential
ComplianceTagSetId | f14fc1f1-8950-40d5-8a29-45909da947d6
FileId | 2f340699-4422-5e3b-140e-a5b021afebf8
UserId | Anas M. AL-Manaa
TagDateTime | 2024-08-07T04:40:49Z
Distribution | خارجي / External
ClassificationHash | {classification_guid}
ComplianceHash | {compliance_guid}
DistributionHash | {distribution_guid}
GVData2 | MjEgXHUwNjQ1XHUwNjM1XHUwNjQ2XHUwNjQxIFx1MDY0NVx1MDY0Mlx1MDY0QVx1MDYyRiAoXHUwNjJFXHUwNjI3XHUwNjMxXHUwNjJDXHUwNjRBKSIsDQogICJIZWFkZXJSaWdodCI6ICIiLA0KICAiRm9vdGVyTGVmdCI6ICIiLA0KICAiRm9vdGVyQ2VudGVyIjog
GVData3 | Ilx1MDAyNks4QjgwMDBcdTAwMjYxMENsYXNzaWZpZWQgYXMgQ29uZmlkZW50aWFsIEV4dGVybmFsIGJ5IFNFQyAtICBcdTA2MjdcdTA2NDRcdTA2MzRcdTA2MzFcdTA2NDNcdTA2MjkgXHUwNjI3XHUwNjQ0XHUwNjMzXHUwNjM5XHUwNjQ4XHUwNjJGXHUwNjRBXHUw
GVData4 | NjI5IFx1MDY0NFx1MDY0NFx1MDY0M1x1MDY0N1x1MDYzMVx1MDYyOFx1MDYyN1x1MDYyMSBcdTA2NDVcdTA2MzVcdTA2NDZcdTA2NDEgXHUwNjQ1XHUwNjQyXHUwNjRBXHUwNjJGIChcdTA2MkVcdTA2MjdcdTA2MzFcdTA2MkNcdTA2NEEpIiwNCiAgIkZvb3RlclJp
GVData5 | Z2h0IjogIiINCn0=
GVData6 | (end)